## Sheet1
HMC8012 Accuracy calculation
|  | Standard deviation |  | Temperature dependent deviation ( 0-18°C / 28-55°C, per 1K) |  | Temp deviation relative to 18°C or 28°C in K (e.g. 13°C is 5K)
Range / V | Reading / V | Corr. of reading (+/- %) | Corr. of range (+/- %) | Corr. of reading (+/- %) | Corr. of range (+/- %)
4 | 0.45 | 0.02 | 0.002 | 0.001 | 0.0005 | 2
Standard deviation |  | Temperature dependent deviation ( 0-18°C / 28-55°C, per 1K)
Corr. of reading (+/- V) | Corr. of range (+/- V) | Corr. of reading (+/- V) | Corr. of range (+/- V) | Sum of deviation / V | Max. value / V | Min. value / V
9e-05 | 8e-05 | 9e-06 | 4e-05 | 0.000219 | 0.44978 | 0.45022
This sheet is locked - you can only change the yellwo cells.
The unlock password is 894129.